CalCheq — Spreadsheet Import Wizard & CMMS Migration Guide

Document Type: Product Feature Specification & Strategy
Topic: Instrument Data Import — Making Onboarding Frictionless
Date: April 2026

Purpose: The import wizard is the single biggest adoption lever CalCheq has. If getting instruments into CalCheq is painful, prospects will not convert to paying customers — even after a successful pilot. This document covers the current import template, MEX migration, SAP migration, and a recommended strategy for making the import process as frictionless as possible.

1. The CalCheq Import Template — Current State

CalCheq currently uses two import documents:

Import Template: "2. Caltrack Import Template" — The master Excel import template with column headers that CalCheq recognises

Import Guide: "3. Import Instruments" — A guide for how to use the import template

MEX Migration Guide: "MEX to CalCheq Migration Guide" — Step-by-step process for migrating from MEX CMMS to CalCheq

Required Import Fields (CalCheq Standard Template):

| Field Name | Required? | Example Value | Notes |
| --- | --- | --- | --- |
| Tag Number | REQUIRED | PT-2401 | Must be unique per instrument |
| Instrument Description | REQUIRED | Pressure Transmitter — Feed Pump | Clear, descriptive name |
| Measurement Type | REQUIRED | Pressure | Pressure, Temperature, Flow, Level, Analytical, Other |
| Area / Location | RECOMMENDED | Beneficiation — Area B | Plant area or unit |
| Calibration Interval | REQUIRED | 6 Monthly | Annual, 6 Monthly, Quarterly, Monthly |
| Last Calibration Date | REQUIRED | 15/03/2025 | DD/MM/YYYY format |
| Next Calibration Due | AUTO-CALCULATED | 15/09/2025 | Calculated from Last Cal + Interval |
| Instrument Make | OPTIONAL | Endress+Hauser | Manufacturer name |
| Instrument Model | OPTIONAL | PMC51 | Model number |
| Serial Number | OPTIONAL | SN-20291847 | Instrument serial number |
| Measurement Range | OPTIONAL | 0–1000 kPag | Engineering units |
| Accuracy / Tolerance | OPTIONAL | ±0.5% | Calibration tolerance |
| Criticality | RECOMMENDED | Red / Yellow / Green | Red=SIS, Yellow=Controller, Green=Indication |
| Responsible Technician | OPTIONAL | Jake Thornton | Default assignee |
| Notes / Comments | OPTIONAL | Access via scaffold — book ahead | Free text |

2. MEX to CalCheq Migration — Field Mapping

MEX (Australia's most widely deployed CMMS) stores instrument/equipment data in a specific format. The MEX to CalCheq migration guide covers the following field mapping:

| MEX Field | CalCheq Field | Notes |
| --- | --- | --- |
| Equipment Code | Tag Number | Direct mapping — use as-is |
| Equipment Name | Instrument Description | Direct mapping |
| Equipment Type | Measurement Type | Manual classification may be needed |
| Location | Area / Location | Direct mapping |
| Last Service Date | Last Calibration Date | Filter for calibration work orders only |
| Service Frequency | Calibration Interval | Map MEX interval codes to CalCheq intervals |
| Make / Manufacturer | Instrument Make | Direct mapping |
| Model | Instrument Model | Direct mapping |
| Serial Number | Serial Number | Direct mapping |
| Technician | Responsible Technician | Direct mapping |
| Notes | Notes / Comments | Direct mapping |

MEX Export Process:

In MEX: Go to Equipment Register → Export → Export to Excel/CSV.

Filter the export to equipment type "Instrument" or the equivalent classification used at that site.

Remove non-instrument assets (pumps, motors, valves) from the export before importing to CalCheq.

Map the MEX columns to the CalCheq Import Template using the field mapping table above.

The "Calibration Interval" field in MEX may be stored differently — check each site's MEX configuration.

Upload the completed CalCheq Import Template via the CalCheq Import Wizard.

NOTE: NOTE: MEX stores all equipment (instruments, pumps, motors, valves) in one register. The migration guide should include a step to filter specifically for calibratable instruments. This is the most common point of confusion during migration — recommend adding a clear filter guide to the MEX Migration document.

3. SAP PM to CalCheq Migration

SAP Plant Maintenance (PM) is the enterprise CMMS used at larger Australian processing plants. Migrating from SAP to CalCheq (or running CalCheq alongside SAP) requires a different approach.

SAP PM Instrument Data Export Options:

SAP stores instruments as "Equipment" with Equipment Category Q (Quality instruments) in PM.

Export using SAP transaction code IE05 (Equipment List) or via SAP Migration Cockpit (CSV export).

Table IW33 (Work Order display) can be filtered for calibration work orders to export calibration history.

SAP exports are typically XLSX or CSV and can be mapped to the CalCheq Import Template.

For Enterprise tier clients: CalCheq should offer a supported SAP migration service as part of onboarding.

4. Other Common Systems — Migration Notes

► Maximo (IBM)

Maximo exports via Reports → Export to Excel. Asset data maps directly to CalCheq fields. Classification structure in Maximo can help identify calibratable instruments. Field mapping is similar to SAP — Tag Number = Asset Number, Description = Asset Description.

► Spreadsheet (Excel / Google Sheets)

Most CalCheq prospects are coming from spreadsheet management. The CalCheq Import Template IS an Excel file — this transition is the simplest. Key action: When a prospect provides their spreadsheet, CalCheq staff map columns to CalCheq fields and imports on their behalf during the pilot setup.

► Beamex CMX

Beamex CMX can export instrument lists and calibration history as CSV. This is the highest-priority integration beyond spreadsheets. Sites already using Beamex CMX have clean, well-structured instrument data that maps well to CalCheq.

► Infor EAM

Infor EAM (formerly Datastream) is used at some larger Australian operations. Export capability similar to Maximo — CSV/Excel export of asset register with field mapping.

► Paper / Manual Records

Some smaller sites still manage calibrations entirely on paper. CalCheq should offer a "Manual Entry Assist" service for smaller pilots — provide a blank Import Template and work with the client to manually populate it during setup.

5. Making Import Frictionless — Strategy & Recommendations

PROBLEM TO SOLVE: The import wizard is a chokepoint. If it is hard, people will not sign up. The goal is for a prospect to be able to go from "I have my instrument list in Excel" to "I have a live CalCheq account" in under 48 hours, with minimal effort on their part.

► Guided Column Mapping UI

Build a web-based import wizard that lets users upload ANY spreadsheet (not just the CalCheq template) and then map their columns to CalCheq fields via a drag-and-drop or dropdown interface. Show a preview of the first 5 rows with the mapped fields highlighted.

► Auto-Detect Column Headers

Use keyword matching to auto-detect common column names from MEX, SAP, and generic spreadsheets. Example: if a column header contains "tag", "equipment code", or "asset number", auto-map it to Tag Number. Saves significant manual effort for the client.

► Validation Before Import

Before completing the import, show the user: number of instruments to import, fields that are populated vs missing, and any rows with errors (e.g. invalid date format, blank tag numbers). Let them fix errors in-browser before confirming the import.

► Do-It-For-Them Pilot Service

For all 30-day pilots, CalCheq staff should handle the import on the client's behalf. Client sends their spreadsheet → CalCheq maps and imports it. This removes the technical barrier entirely for the pilot and demonstrates the product's value without requiring the client to do any setup work.

► Template Variants

Create pre-formatted import templates for the most common source systems: Generic Excel, MEX Export, SAP Export, Maximo Export, Beamex CMX Export. Each template has pre-mapped columns — the client just needs to run the export and save to the right file.