CalTrack Pro MEX to CalTrack Pro Instrument Migration Guide Step-by-step instructions for exporting from MEX and importing into CalTrack Pro via CSV

What this guide covers: - How to export your MEX equipment register - Preparing and cleaning the CSV file in Excel - Mapping MEX columns to CalTrack Pro fields - Running the import script to create all instruments - Validating the import and resolving errors - Bringing across calibration history (optional) Approximate migration time for 500 instruments: 2–4 hours

CalTrack Pro — support@caltrackpro.com — caltrackpro.com

# Overview

This guide walks you through migrating your complete instrument register from MEX into CalTrack Pro. The process uses a CSV file as the transfer medium — you export from MEX, prepare the file in Excel, then run a provided Python script that reads the CSV and creates every instrument in CalTrack Pro automatically via the API.

There is no limit on the number of instruments. A site with 1,000 instruments takes the same time to import as one with 50.

Before you begin — you will need:

Access to MEX with permissions to run Equipment reports

Microsoft Excel or Google Sheets to prepare the CSV

Python 3 installed on your computer (free download: python.org)

Your CalTrack Pro backend running and accessible (e.g. http://localhost:8000)

Approximately 2–4 hours for a site with up to 500 instruments

# Step 1 — Export Your Equipment Register from MEX

## 1.1 Open the Equipment Register Report

MEX stores instrument and equipment data in the Equipment Register module. To export it:

- Open MEX and log in with an account that has report access.

- From the main menu, navigate to Equipment → Equipment Register (or use the module list on the left panel depending on your MEX version).

- If your instruments are categorised under a specific Equipment Type (e.g. ‘Instrumentation’ or ‘Process Instruments’), apply that filter first to narrow down the list.

- Click Reports at the top of the Equipment Register screen.

## 1.2 Run an Equipment List Report

MEX has several report options. You want one that outputs a flat list of all equipment fields:

- Select Equipment List or Equipment Details (the exact name depends on your MEX version — choose the most detailed option available).

- Set the date range or filter to include all active records.

- In the report options, enable as many fields as possible — you want: Equipment ID, Description, Location/Area, Equipment Type, Manufacturer, Model, Serial Number, and any custom fields you use for calibration interval or tolerance.

- Run the report and choose Export to Excel or Export to CSV from the report toolbar.

- Save the file to your desktop as instruments_from_mex.xlsx (or .csv).

MEX version note

MEX 14+ (web version): Reports → Equipment → Equipment List → Export button (top right)

MEX Classic (desktop): Reports menu → Equipment Reports → Equipment Details → Export to Excel

If you cannot find a suitable report, use the Equipment Register grid view and click the Excel icon in the toolbar to export what is currently displayed.

## 1.3 Export Calibration History (Optional)

If you want to bring across your existing calibration records — not just the instrument list — you will need a second export:

- Navigate to Maintenance → Work Orders (completed) and filter by work order type ‘Calibration’ or equivalent.

- Export this as a separate file: calibration_history_from_mex.xlsx.

- See Step 6 of this guide for how to handle calibration history import. For most sites, importing just the instrument register first and then logging calibrations in CalTrack Pro going forward is the most practical approach.

# Step 2 — Prepare the CSV File in Excel

## 2.1 Open the Export and Review the Columns

Open your MEX export in Excel. The columns will reflect whatever MEX fields you included in the report. The column names will not match CalTrack Pro's field names exactly — that is normal. The next step maps them.

Before doing any mapping, spend a few minutes reviewing the data quality:

- Are equipment IDs (tag numbers) consistent? e.g. PT-1023A vs PT1023A vs pt1023a. Pick a format and standardise it.

- Are there duplicate rows? Remove them.

- Are there decommissioned or scrapped instruments mixed in? Filter them out or mark their status accordingly.

- Are description fields meaningful? A description of ‘Inst’ or ‘See drawing’ is not useful — update these while you have the data in front of you.

## 2.2 Create the CalTrack Pro Import CSV

Rename or rearrange the columns to match the CalTrack Pro import format. The easiest way is to:

- Create a new blank sheet in Excel named CalTrackImport.

- Copy the header row from your MEX export to this new sheet.

- Rename the columns to match the CalTrack Pro field names shown in the mapping table below.

- Copy the data rows across, adjusting any values as needed.

- Save the final sheet as caltrack_import.csv (File → Save As → CSV UTF-8).

## 2.3 Required vs Optional Fields

The following fields are required for every instrument. Optional fields can be left blank and filled in later:

| CalTrack Field | Description | Required? | Example Value |
| --- | --- | --- | --- |
| tag_number | Unique instrument tag (e.g. PT-1023A) | REQUIRED | PT-1023A |
| description | Service description | REQUIRED | Feed pump discharge pressure |
| area | Plant area or location | REQUIRED | Unit 1 |
| unit | Plant unit (can be same as area) | Optional | Train A |
| instrument_type | One of: pressure / temperature / flow / level / analyser / switch / valve / other | REQUIRED | pressure |
| manufacturer | Instrument manufacturer | Optional | Endress+Hauser |
| model | Model number or name | Optional | PMC51 |
| serial_number | Instrument serial number | Optional | K123456789 |
| measurement_lrv | Lower range value (number only, no units) | Optional | 0 |
| measurement_urv | Upper range value (number only, no units) | Optional | 1000 |
| engineering_units | Units for the measurement range (e.g. kPa, degC, m3/h) | Optional | kPa |
| output_type | Instrument output signal type | Optional | 4-20mA |
| calibration_interval_days | Calibration interval in days (e.g. 365 for annual) | REQUIRED | 365 |
| tolerance_type | One of: percent_span / percent_reading / absolute | Optional | percent_span |
| tolerance_value | Tolerance value matching the tolerance_type above | Optional | 0.5 |
| num_test_points | Number of calibration test points (default 5 if blank) | Optional | 5 |
| criticality | One of: safety_critical / process_critical / standard / non_critical | Optional | standard |
| status | One of: active / spare / out_of_service / decommissioned | Optional | active |
| procedure_reference | Calibration procedure document number | Optional | CAL-PROC-001 |
| last_calibration_date | Date of most recent calibration (YYYY-MM-DD format) | Optional | 2025-08-15 |
| last_calibration_result | One of: pass / fail / marginal / not_calibrated | Optional | pass |

# Step 3 — MEX to CalTrack Column Mapping

The table below shows the most common MEX field names and the equivalent CalTrack Pro field. MEX field names vary slightly between installations depending on your customisations — match by meaning if the exact name differs.

| MEX Field Name | CalTrack Pro Field | Notes |
| --- | --- | --- |
| Equipment ID / Equipment No. | tag_number | This is the instrument tag. Ensure consistent format (e.g. always use hyphens: PT-1023A) |
| Description / Equipment Name | description | Use the service description, not just the type. 'Feed pump discharge pressure' is better than 'Pressure Transmitter' |
| Location / Site Location | area | The plant area or zone. If MEX uses a location hierarchy, use the most specific level (e.g. Unit 1 rather than Site) |
| Department / Cost Centre | unit | Can be left blank or used to capture the plant unit / train |
| Equipment Type / Category | instrument_type | Map to CalTrack values: pressure / temperature / flow / level / analyser / switch / valve / other |
| Manufacturer / Make | manufacturer | Direct copy |
| Model / Model No. | model | Direct copy |
| Serial No. / Serial Number | serial_number | Direct copy |
| Custom: Cal Interval (days) | calibration_interval_days | If MEX stores this as months, multiply by 30. If stored as years, multiply by 365 |
| Custom: Range Low / LRV | measurement_lrv | Numeric only. Strip any units (e.g. '0 kPa' becomes '0') |
| Custom: Range High / URV | measurement_urv | Numeric only. Strip any units |
| Custom: Units / Eng. Units | engineering_units | e.g. kPa, degC, m3/h, % |
| Custom: Tolerance | tolerance_value | Numeric value only. Set tolerance_type separately |
| Status / Equipment Status | status | Map 'Active' → active, 'Spare' → spare, 'Inactive'/'Decommissioned' → decommissioned |
| Last Service Date / Last Cal Date | last_calibration_date | Convert to YYYY-MM-DD format. Excel formula: =TEXT(A2,"YYYY-MM-DD") |
| Last Result / Cal Result | last_calibration_result | Map to: pass / fail / marginal / not_calibrated. Leave blank if unknown |

Tip: instrument_type values

MEX often uses free-text equipment types like 'Transmitter', 'Switch', 'Valve'. Map these to CalTrack values:

Pressure Transmitter, PT → pressure ¦ Temperature Element, TE, TT → temperature

Flow Meter, FT, FM → flow ¦ Level Transmitter, LT → level

Analyser, AT, AE → analyser ¦ Pressure Switch, Level Switch, PSH, LSH → switch

Control Valve, CV, PCV → valve ¦ Everything else → other

In Excel, use VLOOKUP or SUBSTITUTE to automate this mapping across large datasets.

# Step 4 — Format Dates and Clean Up in Excel

## 4.1 Convert Dates to YYYY-MM-DD

CalTrack Pro requires dates in ISO format: YYYY-MM-DD (e.g. 2025-08-15). MEX typically exports dates as DD/MM/YYYY. You must convert these before importing.

In Excel, if your MEX dates are in column G, add a helper column with this formula:

=TEXT(G2,"YYYY-MM-DD")

Copy this formula down the entire column, then copy the result and Paste Special → Values to replace the formula with plain text. Delete the original date column and rename the helper column to last_calibration_date.

## 4.2 Handle Blanks and Missing Data

For instruments where no calibration date is recorded in MEX, leave the last_calibration_date cell blank. CalTrack Pro will set the status to 'not_calibrated' automatically.

- Blank calibration_interval_days: set a default (e.g. 365) using Excel's IF formula: =IF(ISBLANK(E2), 365, E2)

- Blank status: leave blank and it will default to 'active'

- Blank instrument_type: default to 'other' using: =IF(ISBLANK(C2), "other", C2)

## 4.3 Remove Special Characters

Ensure no cells contain commas within text fields (they will break CSV parsing). If a description contains a comma, wrap the cell in double quotes or replace the comma with a dash. Also check for:

- Line breaks within cells (replace with a space)

- Non-ASCII characters in tag numbers (replace with standard equivalents)

- Leading or trailing spaces in tag numbers (use =TRIM() to remove)

## 4.4 Save as CSV

Once the data is clean and all columns are correctly named, save the file:

- File → Save As

- Choose file type: CSV UTF-8 (Comma delimited) (*.csv)

- Name the file: caltrack_import.csv

- When Excel asks about keeping the CSV format, click Yes

- Close the file and reopen it in Notepad or a text editor to verify the first few rows look correct before proceeding

# Step 5 — Run the Import Script

## 5.1 What the Script Does

CalTrack Pro includes a Python import script (import_instruments.py) that reads your caltrack_import.csv file and creates each instrument via the CalTrack Pro API. The script:

- Reads every row from your CSV

- Validates that required fields are present

- Skips rows where the tag_number already exists in CalTrack Pro (safe to re-run)

- Reports success, skipped, and failed rows at the end

- Logs any errors to a file (import_errors.log) for review

## 5.2 Place the Files

Put both files in the same folder — for example, your Desktop or your CalTrack Pro project folder:

caltrack_import.csv          ← your prepared CSV

import_instruments.py        ← the import script (provided in CalTrack Pro folder)

## 5.3 Configure the Script

Open import_instruments.py in a text editor (Notepad is fine). At the top of the file, update the two configuration lines:

API_URL   = "http://localhost:8000"   # Change to your CalTrack Pro backend URL

SITE_NAME = "IXOM"                    # Change to your exact site name as set up in CalTrack Pro

If your CalTrack Pro backend is running on Railway or another hosting service, replace http://localhost:8000 with the full URL of your deployed backend (e.g. https://caltrack-backend.up.railway.app).

## 5.4 Run the Script

Open a Command Prompt (Windows) or Terminal (Mac):

# Windows: open Command Prompt and navigate to the folder

cd C:\Users\YourName\Desktop

# Then run:

python import_instruments.py

The script will print its progress as it runs:

[1/247] PT-1023A  →  Created OK

[2/247] PT-1024B  →  Created OK

[3/247] TT-2011   →  Created OK

...

[247/247] FT-5044  →  Created OK

Done. Created: 244  Skipped: 2  Failed: 1

See import_errors.log for details on failed rows.

## 5.5 Review the Error Log

If any instruments failed to import, open import_errors.log in a text editor. Each failed row will show the tag number and the reason for failure, for example:

ROW 47: FT-3088 — FAILED: calibration_interval_days must be a positive integer (got: 'annual')

ROW 112: AT-9001 — FAILED: instrument_type 'Gas Analyser' is not a valid value

Fix these rows in your CSV (correct the value, re-save as CSV) and re-run the script. The script skips instruments that already exist, so it is safe to run multiple times.

If you get a 'Connection refused' error

This means the script cannot reach the CalTrack Pro backend.

Check that your backend is running: open a browser and go to http://localhost:8000/docs

If using a deployed backend, check the URL is correct and the service is running in Railway

Check that no firewall is blocking the connection

# Step 6 — Validate the Import in CalTrack Pro

## 6.1 Check the Instrument List

Open CalTrack Pro in your browser and navigate to Instruments. You should see all your imported instruments. Spot-check a sample of 10–20 instruments across different areas:

- Does the tag number match MEX exactly?

- Is the description meaningful?

- Is the area correct?

- Is the calibration due date calculated correctly? (CalTrack Pro calculates this as: last_calibration_date + calibration_interval_days)

- Do the pass/fail statuses and overdue alerts look right for your site?

## 6.2 Check the Dashboard

After a successful import, the CalTrack Pro dashboard will immediately reflect your full instrument inventory:

- The compliance gauge and stats will show real numbers for your site

- The Alerts section will show overdue and due-soon instruments

- The Bad Actors section will show instruments with recent failures (if last_calibration_result = fail was populated)

- The Upcoming list will show instruments due in the next 7 days

## 6.3 Fixing Individual Records

If specific instruments need corrections after the import, you can edit them individually in CalTrack Pro (Instruments → click instrument → Edit). For bulk corrections, fix the CSV and re-run the import script — existing records will be skipped, but failed rows from the original run will be created.

Note: if you need to update an instrument that already exists (not just create it), contact CalTrack Pro support for the bulk-update script.

# Step 7 — Migrating Calibration History (Optional)

Bringing across full calibration history from MEX is optional and is primarily valuable if you need historical trend data available from day one, or if your compliance framework requires a defined number of previous calibration records to be accessible in the system.

For most sites, the recommended approach is:

- Import the instrument register (Steps 1–6 above) to establish your current calibration status.

- Enter the most recent calibration record for each critical instrument manually in CalTrack Pro. This gives you an as-left baseline and accurate due dates.

- Go live with new calibrations being entered in CalTrack Pro from this point forward.

- If historical records are needed for audit purposes, keep the MEX system accessible (read-only) for reference for the duration of your record retention period.

Full history migration is available as a paid service

If your site requires full calibration history migration (including all test point data, adjustment records, and reference standard details), CalTrack Pro offers a professional migration service.

We will extract, map, and import your complete MEX calibration history at a fixed rate.

Contact support@caltrackpro.com with the subject line 'History Migration' for a quote.

Typical cost: AUD $200–$500 depending on history volume. Includes data review, import, and verification report.

# Troubleshooting

| Problem | Solution |
| --- | --- |
| Script says 'Python not found' or 'python is not recognized' | Python is not installed or not in your system PATH. Download Python 3.11+ from python.org, install with 'Add to PATH' checkbox ticked, then restart Command Prompt and try again. |
| CSV has commas in description fields causing wrong column count | Open the CSV in Excel and check for commas in text fields. Wrap those cells in double quotes or replace commas with dashes. Re-save as CSV. |
| Instruments imported with wrong calibration due date | Check that last_calibration_date is in YYYY-MM-DD format in your CSV. Dates in DD/MM/YYYY or MM/DD/YYYY format will be misread. Use the Excel TEXT formula to convert. |
| instrument_type errors in the log | CalTrack Pro only accepts specific values for instrument_type. Check the valid values in the mapping table in Step 3 and update your CSV accordingly. |
| status errors in the log | CalTrack Pro accepts: active, spare, out_of_service, decommissioned. Map any other values (e.g. 'Inactive', 'Archived') to one of these four. |
| Some instruments imported but with wrong area | Check for leading/trailing spaces in the area column. Use =TRIM() in Excel to clean these before saving the CSV. |
| Dashboard shows no data after import | Sign out and sign back in to CalTrack Pro to ensure your site name is correctly set. The site name in the script (SITE_NAME) must exactly match the site name you used when signing in. |
| Script runs but creates 0 instruments | The CSV column headers may not match exactly. Open import_instruments.py in a text editor and check the FIELD_MAP section — ensure your CSV column names match what the script expects. |

# Quick Reference — Valid Field Values

| Field | Valid Values |
| --- | --- |
| instrument_type | pressure ¦ temperature ¦ flow ¦ level ¦ analyser ¦ switch ¦ valve ¦ other |
| tolerance_type | percent_span ¦ percent_reading ¦ absolute |
| criticality | safety_critical ¦ process_critical ¦ standard ¦ non_critical |
| status | active ¦ spare ¦ out_of_service ¦ decommissioned |
| last_calibration_result | pass ¦ fail ¦ marginal ¦ not_calibrated (or leave blank) |
| last_calibration_date | YYYY-MM-DD format only (e.g. 2025-08-15) |
| calibration_interval_days | Positive integer (e.g. 90, 180, 365, 730) |

Need help? Contact support@caltrackpro.com with your import CSV and error log attached.